## Normal View (Zoom 100%)
Load Assessment Sheet for: | Name
LIGHTING
ITEM | NUMBER OF UNITS | LIGHTING TYPE [dropdown selection] | TOTAL LOAD | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION | Notes
Master bedroom |  | 12W LED | 13 |  | 0
Ensuite |  | 12W LED | 13 |  | 0
Walk in wardrobe |  | 12W LED | 13 |  | 0
Bedroom 1 |  | 12W LED | 13 |  | 0
Bedroom 2 |  | 12W LED | 13 |  | 0
Bedroom 3 |  | 12W LED | 13 |  | 0
Bedroom 4 |  | 12W LED | 13 |  | 0
Bedroom 5 |  | 12W LED | 13 |  | 0
Bathroom 1 |  | 12W LED | 13 |  | 0
Bathroom 2 |  | 12W LED | 13 |  | 0
Bathroom 3 |  | 12W LED | 13 |  | 0
Study |  | 12W LED | 13 |  | 0
Home theatre |  | 12W LED | 13 |  | 0
Rumpus room |  | 12W LED | 13 |  | 0
Kitchen |  | 20W Compact Fluro | 20 |  | 0
Walk in pantry |  | 15W LED | 16 |  | 0
Formal lounge |  | 12W LED | 13 |  | 0
Family lounge |  | 20W Compact Fluro | 20 |  | 0
Family dining room |  | 12W LED | 13 |  | 0
Formal dining room |  | 12W LED | 13 |  | 0
Hallway 1 |  | 12W LED | 13 |  | 0
Hallway 2 |  | 12W LED | 13 |  | 0
Indoor entertainment area |  | 12W LED | 13 |  | 0
Outdoor entertainment area |  | 12W LED | 13 |  | 0
Laundry |  | 20W Compact Fluro | 20 |  | 0
Garage |  | 12W LED | 13 |  | 0
Workshop |  | 12W LED | 13 |  | 0
Fence perimeter |  | 12W LED | 13 |  | 0
House perimeter |  | 12W LED | 13 |  | 0
Garden lighting (240V) |  | 12W LED | 13 |  | 0
Garden lighting (12V) |  | 12W LED | 13 |  | 0
Carport |  | 20W Compact Fluro | 20 |  | 0
Veranda |  | 15W Compact Fluro | 15 |  | 0
Swimming pool lights |  | 12W LED | 13 |  | 0
Christmas lights |  | 12W LED | 13 |  | 0
0
0
HEATING / COOLING
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
A/C split system - small |  | 3200 | 0.33 |  | 0
A/C split system - medium |  | 5000 | 0.33 |  | 0
A/C split system - large |  | 8800 | 0.33 |  | 0
A/C wall unit – small |  | 1650 | 0.33 |  | 0
A/C wall unit – large |  | 2500 | 0.33 |  | 0
A/C ducted whole house |  | 14000 | 0.33 |  | 0
Bathroom heat / fan / light unit (2 x 275) |  | 650 | 1 |  | 0
Bathroom heat / fan / light unit (4 x 275) |  | 1500 | 1 |  | 0
Ceiling sweep fan |  | 60 | 1 |  | 0
Electric bar heater – single strip |  | 1200 | 1 |  | 0
Electric bar heater – dual strip |  | 2400 | 1 |  | 0
Electric fan - portable |  | 25 | 1 |  | 0
Electric fan - pedestal |  | 50 | 1 |  | 0
Electric radiator panel - large |  | 700 | 1 |  | 0
Electric radiator panel – medium |  | 320 | 1 |  | 0
Electric radiator panel - small |  | 160 | 1 |  | 0
Evaporative – ducted whole house |  | 800 | 1 |  | 0
Evaporative – wall unit or portable |  | 150 | 1 |  | 0
Heater – large fan radiator |  | 2400 | 1 |  | 0
Heater – medium fan radiator |  | 1200 | 1 |  | 0
Heater – large oil filled |  | 2400 | 1 |  | 0
Heater – small oil filled |  | 1200 | 1 |  | 0
Infrared heat lamp |  | 275 | 1 |  | 0
Waterbed heater – Queen bed |  | 400 | 0.25 |  | 0
Waterbed heater – Single bed |  | 200 | 0.25 |  | 0
0
0
FRIDGE / FREEZER
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Freezer, 140 - 250L |  | 160 | 0.4 |  | 0
Freezer, 250 - 450L |  | 180 | 0.4 |  | 0
Freezer, 400 – 500L |  | 180 | 0.4 |  | 0
Freezer, 500 – 700L |  | 200 | 0.4 |  | 0
Refrigerator, single door, 50 – 200L |  | 160 | 0.4 |  | 0 | (based on average 12 Hr runtime per day)
Refrigerator, single door, 240 - 400L |  | 140 | 0.4 |  | 0
Refrigerator, single door, 400 - 500L |  | 180 | 0.4 |  | 0
Refrigerator, single door, 500 – 550L |  | 280 | 0.4 |  | 0
Refrigerator, two door, 200 - 350L |  | 160 | 0.4 |  | 0
Refrigerator, two door, 350 - 400L |  | 180 | 0.4 |  | 0
Refrigerator, two door, 400 - 500L |  | 200 | 0.4 |  | 0
Refrigerator, two door, 500 - 550L |  | 300 | 0.4 |  | 0
Refrigerator, 20 years old, 400L |  | 150 | 0.8 |  | 0
Water cooler (hot and cold) |  | 90 | 0.4 |  | 0
Water cooler (cold and room temperature) |  | 90 | 0.4 |  | 0 | (based on average 12 Hr runtime per day)
Wine cooler – thermoelectric |  | 70 | 0.4 |  | 0
Wine cooler - compressor |  | 110 | 0.4 |  | 0
0
0
KITCHEN APPLIANCES
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Blender |  | 800 | 1 |  | 0
Bread maker |  | 500 | 1 |  | 0
Coffee machine |  | 600 | 1 |  | 0
Coffee percolator |  | 1000 | 1 |  | 0
Crock pot |  | 150 | 1 |  | 0
Deep fryer |  | 1800 | 1 |  | 0
Electric oven |  | 2100 | 1 |  | 0 | (Recommend LPG gas)
Electric coil cook top (small) |  | 1200 | 1 |  | 0
Electric coil cook top (large) |  | 2200 | 1 |  | 0
Electric inductive cook top (small) |  | 700 | 1 |  | 0
Electric inductive cook top (large) |  | 1400 | 1 |  | 0
Electric grill |  | 2000 | 1 |  | 0
Electric juicer |  | 300 | 1 |  | 0
Electric kettle |  | 2400 | 1 |  | 0 | (2 - 3 boils per day )
Electric wok |  | 2000 | 1 |  | 0
Electric urn |  | 180 | 1 |  | 0
Electric frypan |  | 1700 | 1 |  | 0
Electric BBQ |  | 2400 | 1 |  | 0
Microwave oven |  | 1200 | 1 |  | 0 | (8.5 min per day )
Microwave oven plus convection oven |  | 1500 | 1 |  | 0
Pressure cooker |  | 100 | 1 |  | 0
Popcorn popper |  | 250 | 1 |  | 0
Range hood |  | 140 | 1 |  | 0
Rice cooker |  | 700 | 1 |  | 0
Toaster |  | 600 | 1 |  | 0
Toaster oven |  | 1500 | 1 |  | 0
Waffle cooker |  | 1200 | 1 |  | 0
0
0
LAUNDRY
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Clothes dryer - small |  | 2400 | 1 |  | 0
Clothes dryer - large |  | 400 | 1 |  | 0
Dish washer |  | 2400 | 1 |  | 0
Washing machine |  | 1000 | 1 |  | 0
0
0
POWER TOOLS
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Electric garden blower |  | 1800 | 1 |  | 0
Hedge clippers |  | 600 | 1 |  | 0
Heat gun |  | 1800 | 1 |  | 0
Irrigation system (750W / 1HP pump motor) |  | 750 | 1 |  | 0
Irrigation system (solenoids with mains pressure) |  | 80 | 1 |  | 0
Lawnmower electric - small |  | 615 | 1 |  | 0
Lawnmower electric - large |  | 1400 | 1 |  | 0
Lawn trimmer (Whippersnipper) |  | 350 | 1 |  | 0
Portable drill |  | 700 | 1 |  | 0
Portable saw |  | 1000 | 1 |  | 0
Soldering iron |  | 100 | 1 |  | 0
Welder |  | 2400 | 1 |  | 0
0
0
0
ENTERTAINMENT
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
CD player |  | 35 | 1
Digital set top box |  | 15 | 1 |  | 0
DVD player |  | 50 | 1 |  | 0
Games console |  | 60 | 1 |  | 0
Media centre |  | 90 | 1 |  | 0
Stereo system |  | 60 | 1 |  | 0
Television – CRT 81cm/32” |  | 80 | 1 |  | 0
Television – LCD 66cm/26” |  | 90 | 1 |  | 0
Television – LCD 106cm/42” |  | 221 | 1 |  | 0
Television – LCD 132cm/52” |  | 296 | 1 |  | 0
Television – Plasma 81cm/32” |  | 220 | 1 |  | 0
Television – Plasma 106cm/42” |  | 300 | 1 |  | 0
Television – Plasma 127cm/50” |  | 320 | 1 |  | 0
Television – LED 58cm/23” |  | 36 | 1 |  | 0
Television – LED 101cm/40” |  | 109 | 1 |  | 0
Television – LED 132cm/52” |  | 173 | 1 |  | 0
Television – LED 3D 132cm/52” |  | 185 | 1 |  | 0
Video recorder |  | 50 | 1 |  | 0
0
0
COMPUTER & INTERNET
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Computer & monitor (desktop) |  | 110 | 1 |  | 0
Computer (laptop) |  | 50 | 1 |  | 0
Computer (extreme gaming machine) |  | 400 | 1 |  | 0
Computer (server) |  | 250 | 1 |  | 0
Computer monitor (CRT) |  | 110 | 1 |  | 0
Computer monitor (LCD) |  | 50 | 1 |  | 0
Cordless telephone |  | 5 | 1 |  | 0
Data switch |  | 5 | 1 |  | 0
Digital network drive |  | 18 | 1 |  | 0
Fax machine |  | 10 | 1 |  | 0
Mobile phone charger |  | 5 | 1 |  | 0
Modem |  | 5 | 1 |  | 0
Router |  | 5 | 1 |  | 0
Printer (inkjet) |  | 48 | 1 |  | 0
Printer (laser B&W) |  | 150 | 1 |  | 0
Printer (laser colour) |  | 295 | 1 |  | 0
Printer multifunction (inkjet colour) |  | 42 | 1 |  | 0
Printer multifunction (laser B&W) |  | 375 | 1 |  | 0
Scanner |  | 80 | 1 |  | 0
0
0
MISC APPLIANCES
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Aquarium pump |  | 8 | 1 |  | 0
Aquarium heater |  | 150 | 0.5 |  | 0
Burglar alarm |  | 4 | 1 |  | 0
Clock radio |  | 2 | 1 |  | 0
Electric blanket |  | 120 | 0.25 |  | 0
Electric shaver |  | 15 | 1 |  | 0
Electric bike or stepper machine |  | 800 | 1 |  | 0
Electric walking and running machine |  | 800 | 1 |  | 0
Electric toothbrush |  | 13 | 1 |  | 0
Exhaust fan |  | 75 | 1 |  | 0
Garbage disposal unit |  | 650 | 1 |  | 0
Hairdryer |  | 1500 | 1 |  | 0
Heated towel rack |  | 100 | 1 |  | 0
Iron - small |  | 1000 | 1 |  | 0
Iron - large |  | 2000 | 1 |  | 0
Sewing machine |  | 120 | 1 |  | 0
Vacuum cleaner |  | 1200 | 1 |  | 0
0
WATER PUMPS / POOL
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Pump (house water) |  | 750 | 1 |  | 0
Pump (garden water) |  | 750 | 1 |  | 0
Pump (irigation) |  | 750 | 1 |  | 0
Pump (stock water) |  | 750 | 1 |  | 0
Septic system |  | 500 | 1 |  | 0
Fountain pump |  | 470 | 1 |  | 0
Pool pump |  | 1100 | 1 |  | 0
Pool heater (heat pump) |  | 5000 | 0.25 |  | 0
Pool heater (solar) |  | 550 | 1 |  | 0
Salt water chlorinator |  | 300 | 1 |  | 0
Sauna |  | 6000 | 1 |  | 0
Spa pool filter & heater - 2000L (electric heat pump) |  | 3600 | 0.25 |  | 0
Spa pool filter & heater - 4000L (electric heat pump) |  | 6000 | 0.25 |  | 0
Spa pool blower motor |  | 1500 | 1 |  | 0
0
0
0
|  |  | Total Weekly Consumption: |  | 0
|  |  | Total Daily Consumption: |  | 0
Hot Water: | [ ] Solar [ ] Gas [ ] Heat Pump
Cooktop/Oven: | [ ] Gas

## #ref
12W LED
15W LED
15W Compact Fluro
20W Compact Fluro
36W Single Fluro

## A4 Landscape Print (Scale 85%)
Load Assessment Sheet for: | Name
LIGHTING
ITEM | NUMBER OF UNITS | LIGHTING TYPE [dropdown selection] | TOTAL LOAD | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION | Notes
Master bedroom |  | 12W LED | 13 |  | 0
Ensuite |  | 12W LED | 13 |  | 0
Walk in wardrobe |  | 12W LED | 13 |  | 0
Bedroom 1 |  | 12W LED | 13 |  | 0
Bedroom 2 |  | 12W LED | 13 |  | 0
Bedroom 3 |  | 12W LED | 13 |  | 0
Bedroom 4 |  | 12W LED | 13 |  | 0
Bedroom 5 |  | 12W LED | 13 |  | 0
Bathroom 1 |  | 12W LED | 13 |  | 0
Bathroom 2 |  | 12W LED | 13 |  | 0
Bathroom 3 |  | 12W LED | 13 |  | 0
Study |  | 12W LED | 13 |  | 0
Home theatre |  | 12W LED | 13 |  | 0
Rumpus room |  | 12W LED | 13 |  | 0
Kitchen |  | 20W Compact Fluro | 20 |  | 0
Walk in pantry |  | 15W LED | 16 |  | 0
Formal lounge |  | 12W LED | 13 |  | 0
Family lounge |  | 20W Compact Fluro | 20 |  | 0
Family dining room |  | 12W LED | 13 |  | 0
Formal dining room |  | 12W LED | 13 |  | 0
Hallway 1 |  | 12W LED | 13 |  | 0
Hallway 2 |  | 12W LED | 13 |  | 0
Indoor entertainment area |  | 12W LED | 13 |  | 0
Outdoor entertainment area |  | 12W LED | 13 |  | 0
Laundry |  | 20W Compact Fluro | 20 |  | 0
Garage |  | 12W LED | 13 |  | 0
Workshop |  | 12W LED | 13 |  | 0
Fence perimeter |  | 12W LED | 13 |  | 0
House perimeter |  | 12W LED | 13 |  | 0
Garden lighting (240V) |  | 12W LED | 13 |  | 0
Garden lighting (12V) |  | 12W LED | 13 |  | 0
Carport |  | 20W Compact Fluro | 20 |  | 0
Veranda |  | 15W Compact Fluro | 15 |  | 0
Swimming pool lights |  | 12W LED | 13 |  | 0
Christmas lights |  | 12W LED | 13 |  | 0
0
0
HEATING / COOLING
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
A/C split system - small |  | 3200 | 0.33 |  | 0
A/C split system - medium |  | 5000 | 0.33 |  | 0
A/C split system - large |  | 8800 | 0.33 |  | 0
A/C wall unit – small |  | 1650 | 0.33 |  | 0
A/C wall unit – large |  | 2500 | 0.33 |  | 0
A/C ducted whole house |  | 14000 | 0.33 |  | 0
Bathroom heat / fan / light unit (2 x 275) |  | 650 | 1 |  | 0
Bathroom heat / fan / light unit (4 x 275) |  | 1500 | 1 |  | 0
Ceiling sweep fan |  | 60 | 1 |  | 0
Electric bar heater – single strip |  | 1200 | 1 |  | 0
Electric bar heater – dual strip |  | 2400 | 1 |  | 0
Electric fan - portable |  | 25 | 1 |  | 0
Electric fan - pedestal |  | 50 | 1 |  | 0
Electric radiator panel - large |  | 700 | 1 |  | 0
Electric radiator panel – medium |  | 320 | 1 |  | 0
Electric radiator panel - small |  | 160 | 1 |  | 0
Evaporative – ducted whole house |  | 800 | 1 |  | 0
Evaporative – wall unit or portable |  | 150 | 1 |  | 0
Heater – large fan radiator |  | 2400 | 1 |  | 0
Heater – medium fan radiator |  | 1200 | 1 |  | 0
Heater – large oil filled |  | 2400 | 1 |  | 0
Heater – small oil filled |  | 1200 | 1 |  | 0
Infrared heat lamp |  | 275 | 1 |  | 0
Waterbed heater – Queen bed |  | 400 | 0.25 |  | 0
Waterbed heater – Single bed |  | 200 | 0.25 |  | 0
0
0
FRIDGE / FREEZER
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Freezer, 140 - 250L |  | 160 | 0.4 |  | 0
Freezer, 250 - 450L |  | 180 | 0.4 |  | 0
Freezer, 400 – 500L |  | 180 | 0.4 |  | 0
Freezer, 500 – 700L |  | 200 | 0.4 |  | 0
Refrigerator, single door, 50 – 200L |  | 160 | 0.4 |  | 0 | (based on average 12 Hr runtime per day)
Refrigerator, single door, 240 - 400L |  | 140 | 0.4 |  | 0
Refrigerator, single door, 400 - 500L |  | 180 | 0.4 |  | 0
Refrigerator, single door, 500 – 550L |  | 280 | 0.4 |  | 0
Refrigerator, two door, 200 - 350L |  | 160 | 0.4 |  | 0
Refrigerator, two door, 350 - 400L |  | 180 | 0.4 |  | 0
Refrigerator, two door, 400 - 500L |  | 200 | 0.4 |  | 0
Refrigerator, two door, 500 - 550L |  | 300 | 0.4 |  | 0
Refrigerator, 20 years old, 400L |  | 150 | 0.8 |  | 0
Water cooler (hot and cold) |  | 90 | 0.4 |  | 0
Water cooler (cold and room temperature) |  | 90 | 0.4 |  | 0 | (based on average 12 Hr runtime per day)
Wine cooler – thermoelectric |  | 70 | 0.4 |  | 0
Wine cooler - compressor |  | 110 | 0.4 |  | 0
0
0
KITCHEN APPLIANCES
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Blender |  | 800 | 1 |  | 0
Bread maker |  | 500 | 1 |  | 0
Coffee machine |  | 600 | 1 |  | 0
Coffee percolator |  | 1000 | 1 |  | 0
Crock pot |  | 150 | 1 |  | 0
Deep fryer |  | 1800 | 1 |  | 0
Electric oven |  | 2100 | 1 |  | 0 | (Recommend LPG gas)
Electric coil cook top (small) |  | 1200 | 1 |  | 0
Electric coil cook top (large) |  | 2200 | 1 |  | 0
Electric inductive cook top (small) |  | 700 | 1 |  | 0
Electric inductive cook top (large) |  | 1400 | 1 |  | 0
Electric grill |  | 2000 | 1 |  | 0
Electric juicer |  | 300 | 1 |  | 0
Electric kettle |  | 2400 | 1 |  | 0 | (2 - 3 boils per day )
Electric wok |  | 2000 | 1 |  | 0
Electric urn |  | 180 | 1 |  | 0
Electric frypan |  | 1700 | 1 |  | 0
Electric BBQ |  | 2400 | 1 |  | 0
Microwave oven |  | 1200 | 1 |  | 0 | (8.5 min per day )
Microwave oven plus convection oven |  | 1500 | 1 |  | 0
Pressure cooker |  | 100 | 1 |  | 0
Popcorn popper |  | 250 | 1 |  | 0
Range hood |  | 140 | 1 |  | 0
Rice cooker |  | 700 | 1 |  | 0
Toaster |  | 600 | 1 |  | 0
Toaster oven |  | 1500 | 1 |  | 0
Waffle cooker |  | 1200 | 1 |  | 0
0
0
LAUNDRY
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Clothes dryer - small |  | 2400 | 1 |  | 0
Clothes dryer - large |  | 400 | 1 |  | 0
Dish washer |  | 2400 | 1 |  | 0
Washing machine |  | 1000 | 1 |  | 0
0
0
POWER TOOLS
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Electric garden blower |  | 1800 | 1 |  | 0
Hedge clippers |  | 600 | 1 |  | 0
Heat gun |  | 1800 | 1 |  | 0
Irrigation system (750W / 1HP pump motor) |  | 750 | 1 |  | 0
Irrigation system (solenoids with mains pressure) |  | 80 | 1 |  | 0
Lawnmower electric - small |  | 615 | 1 |  | 0
Lawnmower electric - large |  | 1400 | 1 |  | 0
Lawn trimmer (Whippersnipper) |  | 350 | 1 |  | 0
Portable drill |  | 700 | 1 |  | 0
Portable saw |  | 1000 | 1 |  | 0
Soldering iron |  | 100 | 1 |  | 0
Welder |  | 2400 | 1 |  | 0
0
0
0
ENTERTAINMENT
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
CD player |  | 35 | 1
Digital set top box |  | 15 | 1 |  | 0
DVD player |  | 50 | 1 |  | 0
Games console |  | 60 | 1 |  | 0
Media centre |  | 90 | 1 |  | 0
Stereo system |  | 60 | 1 |  | 0
Television – CRT 81cm/32” |  | 80 | 1 |  | 0
Television – LCD 66cm/26” |  | 90 | 1 |  | 0
Television – LCD 106cm/42” |  | 221 | 1 |  | 0
Television – LCD 132cm/52” |  | 296 | 1 |  | 0
Television – Plasma 81cm/32” |  | 220 | 1 |  | 0
Television – Plasma 106cm/42” |  | 300 | 1 |  | 0
Television – Plasma 127cm/50” |  | 320 | 1 |  | 0
Television – LED 58cm/23” |  | 36 | 1 |  | 0
Television – LED 101cm/40” |  | 109 | 1 |  | 0
Television – LED 132cm/52” |  | 173 | 1 |  | 0
Television – LED 3D 132cm/52” |  | 185 | 1 |  | 0
Video recorder |  | 50 | 1 |  | 0
0
0
COMPUTER & INTERNET
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Computer & monitor (desktop) |  | 110 | 1 |  | 0
Computer (laptop) |  | 50 | 1 |  | 0
Computer (extreme gaming machine) |  | 400 | 1 |  | 0
Computer (server) |  | 250 | 1 |  | 0
Computer monitor (CRT) |  | 110 | 1 |  | 0
Computer monitor (LCD) |  | 50 | 1 |  | 0
Cordless telephone |  | 5 | 1 |  | 0
Data switch |  | 5 | 1 |  | 0
Digital network drive |  | 18 | 1 |  | 0
Fax machine |  | 10 | 1 |  | 0
Mobile phone charger |  | 5 | 1 |  | 0
Modem |  | 5 | 1 |  | 0
Router |  | 5 | 1 |  | 0
Printer (inkjet) |  | 48 | 1 |  | 0
Printer (laser B&W) |  | 150 | 1 |  | 0
Printer (laser colour) |  | 295 | 1 |  | 0
Printer multifunction (inkjet colour) |  | 42 | 1 |  | 0
Printer multifunction (laser B&W) |  | 375 | 1 |  | 0
Scanner |  | 80 | 1 |  | 0
0
0
MISC APPLIANCES
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Aquarium pump |  | 8 | 1 |  | 0
Aquarium heater |  | 150 | 0.5 |  | 0
Burglar alarm |  | 4 | 1 |  | 0
Clock radio |  | 2 | 1 |  | 0
Electric blanket |  | 120 | 0.25 |  | 0
Electric shaver |  | 15 | 1 |  | 0
Electric bike or stepper machine |  | 800 | 1 |  | 0
Electric walking and running machine |  | 800 | 1 |  | 0
Electric toothbrush |  | 13 | 1 |  | 0
Exhaust fan |  | 75 | 1 |  | 0
Garbage disposal unit |  | 650 | 1 |  | 0
Hairdryer |  | 1500 | 1 |  | 0
Heated towel rack |  | 100 | 1 |  | 0
Iron - small |  | 1000 | 1 |  | 0
Iron - large |  | 2000 | 1 |  | 0
Sewing machine |  | 120 | 1 |  | 0
Vacuum cleaner |  | 1200 | 1 |  | 0
0
WATER PUMPS / POOL
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Pump (house water) |  | 750 | 1 |  | 0
Pump (garden water) |  | 750 | 1 |  | 0
Pump (irigation) |  | 750 | 1 |  | 0
Pump (stock water) |  | 750 | 1 |  | 0
Septic system |  | 500 | 1 |  | 0
Fountain pump |  | 470 | 1 |  | 0
Pool pump |  | 1100 | 1 |  | 0
Pool heater (heat pump) |  | 5000 | 0.25 |  | 0
Pool heater (solar) |  | 550 | 1 |  | 0
Salt water chlorinator |  | 300 | 1 |  | 0
Sauna |  | 6000 | 1 |  | 0
Spa pool filter & heater - 2000L (electric heat pump) |  | 3600 | 0.25 |  | 0
Spa pool filter & heater - 4000L (electric heat pump) |  | 6000 | 0.25 |  | 0
Spa pool blower motor |  | 1500 | 1 |  | 0
0
0
0
|  |  | Total Weekly Consumption: |  | 0
|  |  | Total Daily Consumption: |  | 0
Hot Water: | [ ] Solar [ ] Gas [ ] Heat Pump
Cooktop/Oven: | [ ] Gas

## A4 Portrait Print (Scale 60%)
Load Assessment Sheet for: | Name
LIGHTING
ITEM | NUMBER OF UNITS | LIGHTING TYPE [dropdown selection] | TOTAL LOAD | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION | Notes
Master bedroom |  | 12W LED | 13 |  | 0
Ensuite |  | 12W LED | 13 |  | 0
Walk in wardrobe |  | 12W LED | 13 |  | 0
Bedroom 1 |  | 12W LED | 13 |  | 0
Bedroom 2 |  | 12W LED | 13 |  | 0
Bedroom 3 |  | 12W LED | 13 |  | 0
Bedroom 4 |  | 12W LED | 13 |  | 0
Bedroom 5 |  | 12W LED | 13 |  | 0
Bathroom 1 |  | 12W LED | 13 |  | 0
Bathroom 2 |  | 12W LED | 13 |  | 0
Bathroom 3 |  | 12W LED | 13 |  | 0
Study |  | 12W LED | 13 |  | 0
Home theatre |  | 12W LED | 13 |  | 0
Rumpus room |  | 12W LED | 13 |  | 0
Kitchen |  | 20W Compact Fluro | 20 |  | 0
Walk in pantry |  | 15W LED | 16 |  | 0
Formal lounge |  | 12W LED | 13 |  | 0
Family lounge |  | 20W Compact Fluro | 20 |  | 0
Family dining room |  | 12W LED | 13 |  | 0
Formal dining room |  | 12W LED | 13 |  | 0
Hallway 1 |  | 12W LED | 13 |  | 0
Hallway 2 |  | 12W LED | 13 |  | 0
Indoor entertainment area |  | 12W LED | 13 |  | 0
Outdoor entertainment area |  | 12W LED | 13 |  | 0
Laundry |  | 20W Compact Fluro | 20 |  | 0
Garage |  | 12W LED | 13 |  | 0
Workshop |  | 12W LED | 13 |  | 0
Fence perimeter |  | 12W LED | 13 |  | 0
House perimeter |  | 12W LED | 13 |  | 0
Garden lighting (240V) |  | 12W LED | 13 |  | 0
Garden lighting (12V) |  | 12W LED | 13 |  | 0
Carport |  | 20W Compact Fluro | 20 |  | 0
Veranda |  | 15W Compact Fluro | 15 |  | 0
Swimming pool lights |  | 12W LED | 13 |  | 0
Christmas lights |  | 12W LED | 13 |  | 0
0
0
HEATING / COOLING
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
A/C split system - small |  | 3200 | 0.33 |  | 0
A/C split system - medium |  | 5000 | 0.33 |  | 0
A/C split system - large |  | 8800 | 0.33 |  | 0
A/C wall unit – small |  | 1650 | 0.33 |  | 0
A/C wall unit – large |  | 2500 | 0.33 |  | 0
A/C ducted whole house |  | 14000 | 0.33 |  | 0
Bathroom heat / fan / light unit (2 x 275) |  | 650 | 1 |  | 0
Bathroom heat / fan / light unit (4 x 275) |  | 1500 | 1 |  | 0
Ceiling sweep fan |  | 60 | 1 |  | 0
Electric bar heater – single strip |  | 1200 | 1 |  | 0
Electric bar heater – dual strip |  | 2400 | 1 |  | 0
Electric fan - portable |  | 25 | 1 |  | 0
Electric fan - pedestal |  | 50 | 1 |  | 0
Electric radiator panel - large |  | 700 | 1 |  | 0
Electric radiator panel – medium |  | 320 | 1 |  | 0
Electric radiator panel - small |  | 160 | 1 |  | 0
Evaporative – ducted whole house |  | 800 | 1 |  | 0
Evaporative – wall unit or portable |  | 150 | 1 |  | 0
Heater – large fan radiator |  | 2400 | 1 |  | 0
Heater – medium fan radiator |  | 1200 | 1 |  | 0
Heater – large oil filled |  | 2400 | 1 |  | 0
Heater – small oil filled |  | 1200 | 1 |  | 0
Infrared heat lamp |  | 275 | 1 |  | 0
Waterbed heater – Queen bed |  | 400 | 0.25 |  | 0
Waterbed heater – Single bed |  | 200 | 0.25 |  | 0
0
0
FRIDGE / FREEZER
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Freezer, 140 - 250L |  | 160 | 0.4 |  | 0
Freezer, 250 - 450L |  | 180 | 0.4 |  | 0
Freezer, 400 – 500L |  | 180 | 0.4 |  | 0
Freezer, 500 – 700L |  | 200 | 0.4 |  | 0
Refrigerator, single door, 50 – 200L |  | 160 | 0.4 |  | 0 | (based on average 12 Hr runtime per day)
Refrigerator, single door, 240 - 400L |  | 140 | 0.4 |  | 0
Refrigerator, single door, 400 - 500L |  | 180 | 0.4 |  | 0
Refrigerator, single door, 500 – 550L |  | 280 | 0.4 |  | 0
Refrigerator, two door, 200 - 350L |  | 160 | 0.4 |  | 0
Refrigerator, two door, 350 - 400L |  | 180 | 0.4 |  | 0
Refrigerator, two door, 400 - 500L |  | 200 | 0.4 |  | 0
Refrigerator, two door, 500 - 550L |  | 300 | 0.4 |  | 0
Refrigerator, 20 years old, 400L |  | 150 | 0.8 |  | 0
Water cooler (hot and cold) |  | 90 | 0.4 |  | 0
Water cooler (cold and room temperature) |  | 90 | 0.4 |  | 0 | (based on average 12 Hr runtime per day)
Wine cooler – thermoelectric |  | 70 | 0.4 |  | 0
Wine cooler - compressor |  | 110 | 0.4 |  | 0
0
0
KITCHEN APPLIANCES
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Blender |  | 800 | 1 |  | 0
Bread maker |  | 500 | 1 |  | 0
Coffee machine |  | 600 | 1 |  | 0
Coffee percolator |  | 1000 | 1 |  | 0
Crock pot |  | 150 | 1 |  | 0
Deep fryer |  | 1800 | 1 |  | 0
Electric oven |  | 2100 | 1 |  | 0 | (Recommend LPG gas)
Electric coil cook top (small) |  | 1200 | 1 |  | 0
Electric coil cook top (large) |  | 2200 | 1 |  | 0
Electric inductive cook top (small) |  | 700 | 1 |  | 0
Electric inductive cook top (large) |  | 1400 | 1 |  | 0
Electric grill |  | 2000 | 1 |  | 0
Electric juicer |  | 300 | 1 |  | 0
Electric kettle |  | 2400 | 1 |  | 0 | (2 - 3 boils per day )
Electric wok |  | 2000 | 1 |  | 0
Electric urn |  | 180 | 1 |  | 0
Electric frypan |  | 1700 | 1 |  | 0
Electric BBQ |  | 2400 | 1 |  | 0
Microwave oven |  | 1200 | 1 |  | 0 | (8.5 min per day )
Microwave oven plus convection oven |  | 1500 | 1 |  | 0
Pressure cooker |  | 100 | 1 |  | 0
Popcorn popper |  | 250 | 1 |  | 0
Range hood |  | 140 | 1 |  | 0
Rice cooker |  | 700 | 1 |  | 0
Toaster |  | 600 | 1 |  | 0
Toaster oven |  | 1500 | 1 |  | 0
Waffle cooker |  | 1200 | 1 |  | 0
0
0
LAUNDRY
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Clothes dryer - small |  | 2400 | 1 |  | 0
Clothes dryer - large |  | 400 | 1 |  | 0
Dish washer |  | 2400 | 1 |  | 0
Washing machine |  | 1000 | 1 |  | 0
0
0
POWER TOOLS
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Electric garden blower |  | 1800 | 1 |  | 0
Hedge clippers |  | 600 | 1 |  | 0
Heat gun |  | 1800 | 1 |  | 0
Irrigation system (750W / 1HP pump motor) |  | 750 | 1 |  | 0
Irrigation system (solenoids with mains pressure) |  | 80 | 1 |  | 0
Lawnmower electric - small |  | 615 | 1 |  | 0
Lawnmower electric - large |  | 1400 | 1 |  | 0
Lawn trimmer (Whippersnipper) |  | 350 | 1 |  | 0
Portable drill |  | 700 | 1 |  | 0
Portable saw |  | 1000 | 1 |  | 0
Soldering iron |  | 100 | 1 |  | 0
Welder |  | 2400 | 1 |  | 0
0
0
0
ENTERTAINMENT
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
CD player |  | 35 | 1
Digital set top box |  | 15 | 1 |  | 0
DVD player |  | 50 | 1 |  | 0
Games console |  | 60 | 1 |  | 0
Media centre |  | 90 | 1 |  | 0
Stereo system |  | 60 | 1 |  | 0
Television – CRT 81cm/32” |  | 80 | 1 |  | 0
Television – LCD 66cm/26” |  | 90 | 1 |  | 0
Television – LCD 106cm/42” |  | 221 | 1 |  | 0
Television – LCD 132cm/52” |  | 296 | 1 |  | 0
Television – Plasma 81cm/32” |  | 220 | 1 |  | 0
Television – Plasma 106cm/42” |  | 300 | 1 |  | 0
Television – Plasma 127cm/50” |  | 320 | 1 |  | 0
Television – LED 58cm/23” |  | 36 | 1 |  | 0
Television – LED 101cm/40” |  | 109 | 1 |  | 0
Television – LED 132cm/52” |  | 173 | 1 |  | 0
Television – LED 3D 132cm/52” |  | 185 | 1 |  | 0
Video recorder |  | 50 | 1 |  | 0
0
0
COMPUTER & INTERNET
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Computer & monitor (desktop) |  | 110 | 1 |  | 0
Computer (laptop) |  | 50 | 1 |  | 0
Computer (extreme gaming machine) |  | 400 | 1 |  | 0
Computer (server) |  | 250 | 1 |  | 0
Computer monitor (CRT) |  | 110 | 1 |  | 0
Computer monitor (LCD) |  | 50 | 1 |  | 0
Cordless telephone |  | 5 | 1 |  | 0
Data switch |  | 5 | 1 |  | 0
Digital network drive |  | 18 | 1 |  | 0
Fax machine |  | 10 | 1 |  | 0
Mobile phone charger |  | 5 | 1 |  | 0
Modem |  | 5 | 1 |  | 0
Router |  | 5 | 1 |  | 0
Printer (inkjet) |  | 48 | 1 |  | 0
Printer (laser B&W) |  | 150 | 1 |  | 0
Printer (laser colour) |  | 295 | 1 |  | 0
Printer multifunction (inkjet colour) |  | 42 | 1 |  | 0
Printer multifunction (laser B&W) |  | 375 | 1 |  | 0
Scanner |  | 80 | 1 |  | 0
0
0
MISC APPLIANCES
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Aquarium pump |  | 8 | 1 |  | 0
Aquarium heater |  | 150 | 0.5 |  | 0
Burglar alarm |  | 4 | 1 |  | 0
Clock radio |  | 2 | 1 |  | 0
Electric blanket |  | 120 | 0.25 |  | 0
Electric shaver |  | 15 | 1 |  | 0
Electric bike or stepper machine |  | 800 | 1 |  | 0
Electric walking and running machine |  | 800 | 1 |  | 0
Electric toothbrush |  | 13 | 1 |  | 0
Exhaust fan |  | 75 | 1 |  | 0
Garbage disposal unit |  | 650 | 1 |  | 0
Hairdryer |  | 1500 | 1 |  | 0
Heated towel rack |  | 100 | 1 |  | 0
Iron - small |  | 1000 | 1 |  | 0
Iron - large |  | 2000 | 1 |  | 0
Sewing machine |  | 120 | 1 |  | 0
Vacuum cleaner |  | 1200 | 1 |  | 0
0
WATER PUMPS / POOL
ITEM | NUMBER OF UNITS | POWER RATING (Watts) | DUTY CYCLE | WEEKLY HOURS OF OPERATION | TOTAL WEEKLY CONSUMPTION
Pump (house water) |  | 750 | 1 |  | 0
Pump (garden water) |  | 750 | 1 |  | 0
Pump (irigation) |  | 750 | 1 |  | 0
Pump (stock water) |  | 750 | 1 |  | 0
Septic system |  | 500 | 1 |  | 0
Fountain pump |  | 470 | 1 |  | 0
Pool pump |  | 1100 | 1 |  | 0
Pool heater (heat pump) |  | 5000 | 0.25 |  | 0
Pool heater (solar) |  | 550 | 1 |  | 0
Salt water chlorinator |  | 300 | 1 |  | 0
Sauna |  | 6000 | 1 |  | 0
Spa pool filter & heater - 2000L (electric heat pump) |  | 3600 | 0.25 |  | 0
Spa pool filter & heater - 4000L (electric heat pump) |  | 6000 | 0.25 |  | 0
Spa pool blower motor |  | 1500 | 1 |  | 0
0
0
0
|  |  | Total Weekly Consumption: |  | 0
|  |  | Total Daily Consumption: |  | 0
Hot Water: | [ ] Solar [ ] Gas [ ] Heat Pump
Cooktop/Oven: | [ ] Gas